## Summary
EUR 2023 real
| Subscription Limit | 1
|  | Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
| FFR, FCR |  | 482781.12 | 394851.744 | 338878.848 | 325794.912 | 279422.976 | 236321.44 | 202151.016 | 197346.448 | 192590.936 | 187884.48 | 183227.08 | 178618.736 | 174059.448 | 169549.216 | 165088.04 | 160675.92
| FFR, FCR-x |  | 482781.12 | 394851.744 | 338878.848 | 325794.912 | 279422.976 | 236321.44 | 202151.016 | 197346.448 | 192590.936 | 187884.48 | 183227.08 | 178618.736 | 174059.448 | 169549.216 | 165088.04 | 160675.92
| FRR |  | 675520.392 | 1072369.416 | 1673655.816 | 1603885.92 | 1501463.343 | 1403743.28 | 1310556.225 | 1221732.672 | 1137103.115 | 1090944.558 | 1038912.4575 | 987219.88 | 935866.8255 | 884853.294 | 834179.2855 | 783844.8
| CRM |  | 653956.776 | 1050805.8 | 1652092.2 | 1576931.4 | 1467729.24 | 1363001.25 | 1262678.445 | 1166691.84 | 1074972.45 | 1021897.8 | 969531.25 | 917872.8 | 866922.45 | 816680.2 | 767146.05 | 718320
| EAM |  | 21563.616 | 21563.616 | 21563.616 | 26954.52 | 33734.103 | 40742.03 | 47877.78 | 55040.832 | 62130.665 | 69046.758 | 69381.2075 | 69347.08 | 68944.3755 | 68173.094 | 67033.2355 | 65524.8
| Other services |  | 0 | 0 | 0 | 0 | 0 | 82694.4 | 124041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6
| Other services | 0 | 0 | 0 | 0 | 0 | 0 | 82694.4 | 124041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6 | 134041.6
| Spot / Intraday |  | 85083.1489 | 85083.1489 | 85083.1489 | 90049.9284 | 128451.6779 | 166587.3581 | 202727.7805 | 237856.3444 | 272639.4771 | 305284.0137 | 336724.8532 | 366947.426 | 395937.1629 | 423679.4946 | 450159.8518 | 475363.6649
| Spot / Intraday |  | 85083.1489 | 85083.1489 | 85083.1489 | 90049.9284 | 128451.6779 | 166587.3581 | 202727.7805 | 237856.3444 | 272639.4771 | 305284.0137 | 336724.8532 | 366947.426 | 395937.1629 | 423679.4946 | 450159.8518 | 475363.6649
| Total, EUR/a |  | 1243384.6609 | 1552304.3089 | 2097617.8129 | 2019730.7604 | 1909337.9969 | 1889346.4781 | 1839476.6215 | 1790977.0644 | 1736375.1281 | 1718154.6517 | 1692905.9907 | 1666827.642 | 1639905.0364 | 1612123.6046 | 1583468.7773 | 1553925.9849

## Revenue streams
capacity (MW) | 10
EUR/MW.h
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Total remuneration | EUR p.a. | 1243384.6609 | 1552304.3089 | 2097617.8129 | 2019730.7604 | 1909337.9969 | 1889346.4781 | 1839476.6215 | 1790977.0644 | 1736375.1281 | 1718154.6517 | 1692905.9907 | 1666827.642 | 1639905.0364 | 1612123.6046 | 1583468.7773 | 1553925.9849
|  | 0% | 0% | 0% | 0% | 0% | 4.377% | 6.743% | 6.926% | 7.144% | 7.219% | 7.327% | 7.442% | 7.564% | 7.694% | 7.834% | 7.982%
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR | EUR p.a. | 2382.72 | 2263.584 | 2144.448 | 2025.312 | 1906.176 | 1787.04 | 1757.256 | 1727.472 | 1697.688 | 1667.904 | 1638.12 | 1608.336 | 1578.552 | 1548.768 | 1518.984 | 1489.2
FCR-D up | EUR p.a. | 235468.8 | 183749.76 | 151372.8 | 142963.2 | 120257.28 | 99513.6 | 85020.18 | 82986.4 | 80973.06 | 78980.16 | 77007.7 | 75055.68 | 73124.1 | 71212.96 | 69322.26 | 67452
FCR-D dn | EUR p.a. | 176601.6 | 145065.6 | 126144 | 126144 | 112741.2 | 99513.6 | 85020.18 | 82986.4 | 80973.06 | 78980.16 | 77007.7 | 75055.68 | 73124.1 | 71212.96 | 69322.26 | 67452
FCR-N | EUR p.a. | 68328 | 63772.8 | 59217.6 | 54662.4 | 44518.32 | 35507.2 | 30353.4 | 29646.176 | 28947.128 | 28256.256 | 27573.56 | 26899.04 | 26232.696 | 25574.528 | 24924.536 | 24282.72
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FRR |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
aFRR Up CRM | EUR p.a. | 115323.648 | 339187.2 | 678374.4 | 635976 | 568998.5 | 505817 | 446365.8 | 390579.2 | 338391.5 | 321930 | 305687.5 | 289664 | 273859.5 | 258274 | 242907.5 | 227760
aFRR dn CRM | EUR p.a. | 89113.728 | 262099.2 | 524198.4 | 491436 | 439579.2333 | 390671.6667 | 344662.2 | 301499.7333 | 261133.1667 | 248346 | 235729.1667 | 223282.6667 | 211006.5 | 198900.6667 | 186965.1667 | 175200
mFRR Up CRM | EUR p.a. | 261617.4 | 261617.4 | 261617.4 | 261617.4 | 266616.44 | 270227.75 | 272480.895 | 273405.44 | 273030.95 | 258463.8 | 244093.75 | 229920.8 | 215944.95 | 202166.2 | 188584.55 | 175200
mFRR dn CRM | EUR p.a. | 187902 | 187902 | 187902 | 187902 | 192535.0667 | 196284.8333 | 199169.55 | 201207.4667 | 202416.8333 | 193158 | 184020.8333 | 175005.3333 | 166111.5 | 157339.3333 | 148688.8333 | 140160
FRR EAM | EUR p.a. | 21563.616 | 21563.616 | 21563.616 | 26954.52 | 33734.103 | 40742.03 | 47877.78 | 55040.832 | 62130.665 | 69046.758 | 69381.2075 | 69347.08 | 68944.3755 | 68173.094 | 67033.2355 | 65524.8
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ancillary services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Voltage control | EUR p.a. | 0 | 0 | 0 | 0 | 0 | 82694.4 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6 | 124041.6
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity market (peak-load) |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Capacity market | EUR p.a. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
|  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spot / Intraday |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Spot | EUR p.a. | 19867.1182 | 19867.1182 | 19867.1182 | 24833.8978 | 29254.3375 | 34071.7494 | 38385.0378 | 42743.3696 | 47454.5045 | 51687.5585 | 55891.1609 | 60061.6302 | 64195.285 | 68288.4439 | 72337.4253 | 76338.5479
Intraday | EUR p.a. | 14758.4307 | 14758.4307 | 14758.4307 | 14758.4307 | 22826.5654 | 31228.1087 | 39134.9677 | 46981.3747 | 55125.9976 | 62606.5552 | 69909.3173 | 77023.3958 | 83937.9029 | 90641.9508 | 97124.6514 | 103375.117
Intraday auction | EUR p.a. | 50457.6 | 50457.6 | 50457.6 | 50457.6 | 76370.775 | 101287.5 | 125207.775 | 148131.6 | 170058.975 | 190989.9 | 210924.375 | 229862.4 | 247803.975 | 264749.1 | 280697.775 | 295650
REV/MW | EUR/MW | 124338.4661 | 155230.4309 | 209761.7813 | 201973.076 | 190933.7997 | 188934.6478 | 183947.6621 | 179097.7064 | 173637.5128 | 171815.4652 | 169290.5991 | 166682.7642 | 163990.5036 | 161212.3605 | 158346.8777 | 155392.5985

## Services achieved price
Price achieved relative annual average price
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR |  | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
FCR-D up |  | 1.2 | 1.2 | 1.2 | 1.2 | 1.1917 | 1.1833 | 1.175 | 1.1667 | 1.1583 | 1.15 | 1.1417 | 1.1333 | 1.125 | 1.1167 | 1.1083 | 1.1
FCR-D dn |  | 1.2 | 1.2 | 1.2 | 1.2 | 1.1917 | 1.1833 | 1.175 | 1.1667 | 1.1583 | 1.15 | 1.1417 | 1.1333 | 1.125 | 1.1167 | 1.1083 | 1.1
FCR-N |  | 1.3 | 1.3 | 1.3 | 1.3 | 1.2833 | 1.2667 | 1.25 | 1.2333 | 1.2167 | 1.2 | 1.1833 | 1.1667 | 1.15 | 1.1333 | 1.1167 | 1.1
FRR
aFRR Up CRM |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.0917 | 1.0833 | 1.075 | 1.0667 | 1.0583 | 1.05 | 1.0417 | 1.0333 | 1.025 | 1.0167 | 1.0083 | 1
aFRR dn CRM |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.0917 | 1.0833 | 1.075 | 1.0667 | 1.0583 | 1.05 | 1.0417 | 1.0333 | 1.025 | 1.0167 | 1.0083 | 1
mFRR Up CRM |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.0917 | 1.0833 | 1.075 | 1.0667 | 1.0583 | 1.05 | 1.0417 | 1.0333 | 1.025 | 1.0167 | 1.0083 | 1
mFRR dn CRM |  | 1.1 | 1.1 | 1.1 | 1.1 | 1.0917 | 1.0833 | 1.075 | 1.0667 | 1.0583 | 1.05 | 1.0417 | 1.0333 | 1.025 | 1.0167 | 1.0083 | 1
FRR EAM |  | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2
Ancillary services
Voltage control | bar: 2025 2025 to 2040 2040
Capacity market (peak-load)
Capacity market | bar: 2025 2025 to 2040 2040
Spot / Intraday
Spot |  | 1.4 | 1.4 | 1.4 | 1.4 | 1.3833 | 1.3667 | 1.35 | 1.3333 | 1.3167 | 1.3 | 1.2833 | 1.2667 | 1.25 | 1.2333 | 1.2167 | 1.2
Intraday |  | 1.6 | 1.6 | 1.6 | 1.6 | 1.5708 | 1.5417 | 1.5125 | 1.4833 | 1.4542 | 1.425 | 1.3958 | 1.3667 | 1.3375 | 1.3083 | 1.2792 | 1.25
Intraday auction |  | 1.6 | 1.6 | 1.6 | 1.6 | 1.5708 | 1.5417 | 1.5125 | 1.4833 | 1.4542 | 1.425 | 1.3958 | 1.3667 | 1.3375 | 1.3083 | 1.2792 | 1.25

## Services annual average price
EUR/MW.h
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR | EUR/MW.h | 8 | 7.6 | 7.2 | 6.8 | 6.4 | 6 | 5.9 | 5.8 | 5.7 | 5.6 | 5.5 | 5.4 | 5.3 | 5.2 | 5.1 | 5
FCR-D up | EUR/MW.h | 8 | 7.6 | 7.2 | 6.8 | 6.4 | 6 | 5.9 | 5.8 | 5.7 | 5.6 | 5.5 | 5.4 | 5.3 | 5.2 | 5.1 | 5
FCR-D dn | EUR/MW.h | 6 | 6 | 6 | 6 | 6 | 6 | 5.9 | 5.8 | 5.7 | 5.6 | 5.5 | 5.4 | 5.3 | 5.2 | 5.1 | 5
FCR-N | EUR/MW.h | 30 | 28 | 26 | 24 | 22 | 20 | 19.8 | 19.6 | 19.4 | 19.2 | 19 | 18.8 | 18.6 | 18.4 | 18.2 | 18
FRR
aFRR Up CRM | EUR/MW.h | 22 | 22 | 22 | 22 | 21.25 | 20.5 | 19.75 | 19 | 18.25 | 17.5 | 16.75 | 16 | 15.25 | 14.5 | 13.75 | 13
aFRR dn CRM | EUR/MW.h | 17 | 17 | 17 | 17 | 16.4167 | 15.8333 | 15.25 | 14.6667 | 14.0833 | 13.5 | 12.9167 | 12.3333 | 11.75 | 11.1667 | 10.5833 | 10
mFRR Up CRM | EUR/MW.h | 18.1 | 18.1 | 18.1 | 18.1 | 17.425 | 16.75 | 16.075 | 15.4 | 14.725 | 14.05 | 13.375 | 12.7 | 12.025 | 11.35 | 10.675 | 10
mFRR dn CRM | EUR/MW.h | 13 | 13 | 13 | 13 | 12.5833 | 12.1667 | 11.75 | 11.3333 | 10.9167 | 10.5 | 10.0833 | 9.6667 | 9.25 | 8.8333 | 8.4167 | 8
FRR EAM | EUR/MW.h | 18.1 | 18.1 | 18.1 | 18.1 | 17.425 | 16.75 | 16.075 | 15.4 | 14.725 | 14.05 | 13.375 | 12.7 | 12.025 | 11.35 | 10.675 | 10
Ancillary services
Voltage control | "EUR/MW.h" | 0 | 0 | 0 | 0 | 0 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72 | 4.72
Capacity market (peak-load)
Capacity market | EUR/MW.h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.7078 | 5.7078 | 5.7078 | 5.7078 | 5.7078 | 5.7078 | 5.7078 | 5.7078 | 5.7078
Spot / Intraday
Spot | "EUR/MW.h" | 4.0499 | 4.0499 | 4.0499 | 4.0499 | 4.1385 | 4.2689 | 4.3278 | 4.3914 | 4.4883 | 4.5388 | 4.5892 | 4.6396 | 4.6901 | 4.7405 | 4.7909 | 4.8414
Intraday | "EUR/MW.h" | 5.2649 | 5.2649 | 5.2649 | 5.2649 | 5.38 | 5.5496 | 5.6261 | 5.7089 | 5.8348 | 5.9004 | 5.966 | 6.0315 | 6.0971 | 6.1626 | 6.2282 | 6.2938
Intraday auction | "EUR/MW.h" | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
Note on B8: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: These price up to 2028 are updated based on the future price prediction in : FCR projections and historicals.xlsx

## Asset allocation MW- Percentile
MW allocation | 10
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR | MW.h | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33% | 11.33%
FCR-D up | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
FCR-D dn | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
FCR-N | MW.h | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10% | 10%
FRR
aFRR Up CRM | MW.h | 17% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
aFRR dn CRM | MW.h | 17% | 50% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
mFRR Up CRM | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
mFRR dn CRM | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
FRR EAM | MW.h | 28.33% | 28.33% | 28.33% | 28.33% | 30.69% | 33.06% | 35.42% | 37.78% | 40.14% | 42.5% | 44.86% | 47.22% | 49.58% | 51.94% | 54.31% | 56.67%
Ancillary services
Voltage control | MW.h | 0% | 0% | 0% | 0% | 0% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Capacity market (peak-load)
Capacity market | MW.h | 0% | 0% | 0% | 0% | 0% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82% | 58.82%
Spot / Intraday
Spot | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Intraday | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%
Intraday auction | MW.h | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100% | 100%

## Asset allocation MW
MW allocation | 10
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR | MW.h | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333 | 1.1333
FCR-D up | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
FCR-D dn | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
FCR-N | MW.h | bar: 2025 2025 to 2040 2040
FRR
aFRR Up CRM | MW.h | 1.7 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
aFRR dn CRM | MW.h | 1.7 | 5 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
mFRR Up CRM | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
mFRR dn CRM | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
FRR EAM | MW.h | 2.8333 | 2.8333 | 2.8333 | 2.8333 | 3.0694 | 3.3056 | 3.5417 | 3.7778 | 4.0139 | 4.25 | 4.4861 | 4.7222 | 4.9583 | 5.1944 | 5.4306 | 5.6667
Ancillary services
Voltage control | MW.h | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Capacity market (peak-load)
Capacity market | MW.h | 0 | 0 | 0 | 0 | 0 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Spot / Intraday
Spot | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Intraday | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Intraday auction | MW.h | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
Note on D30: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Based on the data from Nordpool online data: https://data.nordpoolgroup.com/auction/intraday-auction-1/prices?deliveryDate=2024-08-14&currency=EUR&aggregation=Hourly&deliveryAreas=SE3

## Asset allocation time
% of time
| Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
FFR | % of time | bar: 2025 2025 to 2040 2040
FCR-D up | % of time | 28% | 23% | 20% | 20% | 18% | 16% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14%
FCR-D dn | % of time | 28% | 23% | 20% | 20% | 18% | 16% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14%
FCR-N | % of time | 20% | 20% | 20% | 20% | 18% | 16% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14% | 14%
FRR
aFRR Up CRM | % of time | 32% | 32% | 32% | 30% | 28% | 26% | 24% | 22% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
aFRR dn CRM | % of time | 32% | 32% | 32% | 30% | 28% | 26% | 24% | 22% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
mFRR Up CRM | % of time | 15% | 15% | 15% | 15% | 16% | 17% | 18% | 19% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
mFRR dn CRM | % of time | 15% | 15% | 15% | 15% | 16% | 17% | 18% | 19% | 20% | 20% | 20% | 20% | 20% | 20% | 20% | 20%
FRR EAM | % of time | 4% | 4% | 4% | 5% | 6% | 7% | 8% | 9% | 10% | 11% | 11% | 11% | 11% | 11% | 11% | 11%
Ancillary services
Voltage control | % of time | 0% | 0% | 0% | 0% | 0% | 20% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30% | 30%
Capacity market (peak-load)
Capacity market | % of time | bar: 2025 2025 to 2040 2040
Spot / Intraday
Spot | % of time | 4% | 4% | 4% | 5% | 5.833% | 6.667% | 7.5% | 8.333% | 9.167% | 10% | 10.83% | 11.67% | 12.5% | 13.33% | 14.17% | 15%
Intraday | % of time | 2% | 2% | 2% | 2% | 3.083% | 4.167% | 5.25% | 6.333% | 7.417% | 8.5% | 9.583% | 10.67% | 11.75% | 12.83% | 13.92% | 15%
Intraday auction | % of time | 2% | 2% | 2% | 2% | 3.083% | 4.167% | 5.25% | 6.333% | 7.417% | 8.5% | 9.583% | 10.67% | 11.75% | 12.83% | 13.92% | 15%
Summary time, checksum
Up |  | 101% | 96% | 93% | 91.5% | 88% | 84.5% | 81% | 83.5% | 84% | 85.5% | 87% | 88.5% | 90% | 91.5% | 93% | 94.5%
Dn |  | 101% | 96% | 93% | 92% | 89% | 86% | 83% | 84% | 85% | 87% | 88.5% | 90% | 91.5% | 93% | 94.5% | 96%

## Asset allocation calc
|  | Year-> | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Utilisation rate | Application / service | Unit | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
0.01% | FFR | MW.h | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56 | 198.56
0.5708% | FCR-D up | MW.h | 24528 | 20148 | 17520 | 17520 | 15768 | 14016 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264
0.5708% | FCR-D dn | MW.h | 24528 | 20148 | 17520 | 17520 | 15768 | 14016 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264 | 12264
17.12% | FCR-N | MW.h | 1752 | 1752 | 1752 | 1752 | 1576.8 | 1401.6 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4 | 1226.4
FRR
0% | aFRR Up CRM | MW.h | 4765.44 | 14016 | 28032 | 26280 | 24528 | 22776 | 21024 | 19272 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520
0% | aFRR dn CRM | MW.h | 4765.44 | 14016 | 28032 | 26280 | 24528 | 22776 | 21024 | 19272 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520
0% | mFRR Up CRM | MW.h | 13140 | 13140 | 13140 | 13140 | 14016 | 14892 | 15768 | 16644 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520
0% | mFRR dn CRM | MW.h | 13140 | 13140 | 13140 | 13140 | 14016 | 14892 | 15768 | 16644 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520 | 17520
100% | FRR EAM | MW.h | 992.8 | 992.8 | 992.8 | 1241 | 1613.3 | 2026.9667 | 2482 | 2978.4 | 3516.1667 | 4095.3 | 4322.8167 | 4550.3333 | 4777.85 | 5005.3667 | 5232.8833 | 5460.4
Ancillary services
1% | Voltage control | MW.h | 0 | 0 | 0 | 0 | 0 | 17520 | 26280 | 26280 | 26280 | 26280 | 26280 | 26280 | 26280 | 26280 | 26280 | 26280
Capacity market (peak-load)
1% | Capacity market | MW.h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1752 | 1752 | 1752 | 1752 | 1752 | 1752 | 1752 | 1752 | 1752
Spot / Intraday
80% | Spot | MW.h | 3504 | 3504 | 3504 | 4380 | 5110 | 5840 | 6570 | 7300 | 8030 | 8760 | 9490 | 10220 | 10950 | 11680 | 12410 | 13140
20% | Intraday | MW.h | 1752 | 1752 | 1752 | 1752 | 2701 | 3650 | 4599 | 5548 | 6497 | 7446 | 8395 | 9344 | 10293 | 11242 | 12191 | 13140
20% | Intraday auction | MW.h | 1752 | 1752 | 1752 | 1752 | 2701 | 3650 | 4599 | 5548 | 6497 | 7446 | 8395 | 9344 | 10293 | 11242 | 12191 | 13140
Summary time, checksum
| Up |  | 47888 | 52758.56 | 64146.56 | 62832.56 | 61343.36 | 59854.16 | 58364.96 | 60554.96 | 60992.96 | 62306.96 | 63620.96 | 64934.96 | 66248.96 | 67562.96 | 68876.96 | 70190.96
| Dn |  | 48185.84 | 53056.4 | 64444.4 | 63254.5 | 61951.45 | 60669.0833 | 59407.4 | 60093.6 | 60800.4833 | 62404.05 | 63831.8083 | 65259.5667 | 66687.325 | 68115.0833 | 69542.8417 | 70970.6
|  | Nominal, MW | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
|  | MW.h nominal | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600 | 87600
|  | Ratio | 1.0967 | 1.2079 | 1.4679 | 1.4393 | 1.4075 | 1.3758 | 1.3444 | 1.3773 | 1.3903 | 1.4236 | 1.4549 | 1.4862 | 1.5175 | 1.5488 | 1.5801 | 1.6114
|  | MWh | 5076.8199 | 5026.8199 | 4996.8199 | 5945.8199 | 7231.7199 | 8734.1865 | 10190.4199 | 11667.9399 | 13169.3065 | 14712.0399 | 15903.1565 | 17094.2732 | 18285.3899 | 19476.5065 | 20667.6232 | 21858.7399
|  | "Cycles" for 1h battery | 149.3182 | 147.8476 | 146.9653 | 174.8771 | 212.6976 | 256.8878 | 299.7182 | 343.1747 | 387.3325 | 432.7071 | 467.7399 | 502.7727 | 537.8056 | 572.8384 | 607.8713 | 642.9041
|  | "Cycles" for 2h battery | 75 | 74 | 73 | 87 | 106 | 128 | 150 | 172 | 194 | 216 | 234 | 251 | 269 | 286 | 304 | 321
|  | "Cycles" for 4h battery | 37.33 | 36.96 | 36.74 | 43.72 | 53.17 | 64.22 | 74.93 | 85.79 | 96.83 | 108.18 | 116.93 | 125.69 | 134.45 | 143.21 | 151.97 | 160.73
|  | Cycles per day (1h battery) | 0.40909 | 0.40506 | 0.40264 | 0.47912 | 0.58273 | 0.7038 | 0.82115 | 0.9402 | 1.0612 | 1.1855 | 1.2815 | 1.3775 | 1.4734 | 1.5694 | 1.6654 | 1.7614
|  | Cycles per day (2-h battery) | 0.20548 | 0.20274 | 0.2 | 0.23836 | 0.29041 | 0.35068 | 0.41096 | 0.47123 | 0.53151 | 0.59178 | 0.6411 | 0.68767 | 0.73699 | 0.78356 | 0.83288 | 0.87945
|  | Cycles per day (4-h battery) | 0.10227 | 0.10126 | 0.10066 | 0.11978 | 0.14567 | 0.17595 | 0.20529 | 0.23504 | 0.26529 | 0.29638 | 0.32036 | 0.34436 | 0.36836 | 0.39236 | 0.41636 | 0.44036
Note on D45: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: The reason for division by two is that 1MWh battery can charge and then discharge fully to account it as a one fully cycle.

## Params
Utilisation rate
Hours in a year | 8760
Application / service
|  | FFR | 0.01%
|  | FCR-D up | 0.5708%
|  | FCR-D dn | 0.5708%
|  | FCR-N | 17.12%
FRR
|  | aFRR Up CRM | 0%
|  | aFRR dn CRM | 0%
|  | mFRR Up CRM | 0%
|  | mFRR dn CRM | 0%
|  | FRR EAM | 100%
Ancillary services
|  | Voltage control | 1%
Capacity market (peak-load)
|  | Capacity market | 1%
Spot / Intraday
|  | Spot | 100%
|  | Intraday | 100%

## kWh_cost_cal
| 17 | MW
2-h battery | 34 | MWh | 250 | €/kWh | 8500 | k€
4-h battery | 68 | MWh | 200 | €/kWh | 13600 | k€
6-h battery | 102 | MWh | 190 | €/kWh | 19380 | k€